## Slide 1: On-boarding
Session #1

## Slide 2: Bell Performs 360
Introduction
Fuel Distributors

## Slide 3: Introduction – Our Commitment
Provide a top quality line of products and support services speciﬁcally designed for your customers’ needs & based.
Focus:
  Products
  Support
  Profitability

## Slide 4: Bell Performs 360

## Slide 5: Who We Are
Celebrating 111 Years
Providing a Full Line of Specialized Chemical Fuel & Oil Treatments
Commercial & Industrial Grade Applications
Bell FTS - Fuel & Tank Services

## Slide 6: Bell FTS – Fuel & Tank Services
Three Components of Managing Fuel Quality
In-field Sampling & Testing
Chemical Treatment
Mechanical Tank Cleaning & Fuel Filtration

## Slide 7: Bell Performs 360
Fuels Market Overview: Diesel Fuel Contamination

## Slide 8: Diesel Contamination – Why?
Ongoing fuel quality management is essential to ensuring operations aren’t impacted by contamination
Why Contamination Occurs
Effects of Contamination
Best Practices: Remediation & Prevention
or Guardian Fueling Technologies 904-680-0850

## Slide 9: Why Contamination Occurs?
Quality of Crude
Advanced Refining Process
Government Regulation: Advent of ULSD
Water Intrusion
Introduction of Bio-Diesel
or Guardian Fueling Technologies 904-680-0850

## Slide 10: Why Contamination Occurs - Quality of Crude
Supply
Demand
Crude Quality
or Guardian Fueling Technologies 904-680-0850

## Slide 11: Why Contamination Occurs - Advanced Refining Process
Strict specifications and goal to produce as much fuel at lowest cost creates an unstable fuel
Mostly distillation < 2006
More catalysts introduced after 2006, hydrocracking/hydrodesulfurization
or Guardian Fueling Technologies 904-680-0850

## Slide 12: Why Contamination Occurs - ULSD
2006 EPA Clean Air Act: Required sulfur in diesel fuel to be reduced to from 5000ppm to15ppm.
Hydrodesulfurization removes chemistry essential to preventing microorganism growth.
Sulfur – Lubricating Agent for Injectors & Seals
or Guardian Fueling Technologies 904-680-0850

## Slide 13: Why Contamination Occurs - Water Intrusion
Not a new issue, but new problem
Low sulfur and unstable fuel creates environment for microbial contamination and quick degradation
Microbes degrade fuel quality, advance tank and component corrosion
or Guardian Fueling Technologies 904-680-0850

## Slide 14: Water Intrusion – How?
More Water in Fuel from the Refinery
Condensation Formed on Tank Walls
Tank Vents, Expose Fuel to Humidity & Water Absorption
Water from Fuel Distributor Tanker
Spill Buckets Full of Water
or Guardian Fueling Technologies 904-680-0850

## Slide 15: Why Contamination Occurs – Introduction of Biodiesel
Most common biodiesel concentrations are B2, B5, & B20
Biodiesel has a higher lubricity rating than straight diesel but contains less energy
Biodiesel has one-fourth the shelf life that straight diesel has and is more susceptible to microbial growth
Biodiesel tends to gel at higher temperatures than straight diesel
Biodiesel chemistry bonds easily with water
or Guardian Fueling Technologies 904-680-0850

## Slide 16: Diesel Contamination in Generators - Effects
Ongoing fuel quality management is essential to ensuring operations aren’t impacted by contamination
Why Contamination Occurs
Effects of Contamination
Best Practices: Remediation & Prevention
or Guardian Fueling Technologies 904-680-0850

## Slide 17: Diesel Contamination - Effects on Engines
Fuel Filter Plugging
Combustion Chamber Deposits
Lacquering of Injection System Components & Valves
Excessive Soot Accumulation in DP Filters
Reduced Engine Power
Greater Engine Wear due to Particulate
Reduced Fuel Economy
Critical System Power Failure
Related to Poor Fuel Quality
or Guardian Fueling Technologies 904-680-0850

## Slide 18: Diesel Contamination - Effects
Critical Power Systems
Low Fuel Turnover
or Guardian Fueling Technologies 904-680-0850
Sub-base Fuel Tank
(Interior Construction Features)
Limited Access

## Slide 19: Why Contamination Occurs - Water Intrusion
What we see in the field
or Guardian Fueling Technologies 904-680-0850

## Slide 20: Diesel Contamination - Effects
Asphaltenes removed from tank bottoms developed due to unstable fuel
Plugged fuel filter caused by
bio-mass & microbe excreted waste
or Guardian Fueling Technologies 904-680-0850

## Slide 21: Diesel Contamination - Effects?
Biomass: Microbes can multiply from one cell to 246,000 in six hours
Microbes can come from the air, moisture or during tank filling
or Guardian Fueling Technologies 904-680-0850

## Slide 22: Diesel Contamination - Effects?
Corrosion on
Submersible Turbine Pump
Bottom of STP
or Guardian Fueling Technologies 904-680-0850

## Slide 23: Diesel Contamination - Effects
Bacteria excrete acids that can corrode metal parts
Fuel tanks, pipes, injectors, injector pumps & fuel lines can be severely damaged
or Guardian Fueling Technologies 904-680-0850

## Slide 24: Diesel Contamination – Best Practices
Ongoing fuel quality management is essential to ensuring operations aren’t impacted by contamination
Why Contamination Occurs
Effects of Contamination
Best Practices: Remediation & Prevention
or Guardian Fueling Technologies 904-680-0850

## Slide 25: Diesel Contamination – Best Practices
Initial Treatment
On-going Maintenance
or Guardian Fueling Technologies 904-680-0850

## Slide 26: Diesel Contamination – Best Practices
Three Components of Managing Fuel Quality
In-field Sampling & Testing
Chemical Treatment
Mechanical Tank Cleaning & Fuel Filtration
or Guardian Fueling Technologies 904-680-0850

## Slide 27: Diesel Contamination – Best Practices
Sampling & Testing
or Guardian Fueling Technologies 904-680-0850

## Slide 28: Condition Monitoring & Sampling – Methodologies
or Guardian Fueling Technologies 904-680-0850
Sampling practices
ASTM D4057 vs. D7464
Bottom and 3-phase samples
Proper handling of instruments
Sterilization between samples
Temperature Control
Time Sensitive Testing

## Slide 29: Condition Testing – ATP Microbial Analysis
or Guardian Fueling Technologies 904-680-0850
ASTM D7687 – Measurement of ATP by Filtration
Isolation & measurement of microbial ATP
Filtration of sample, washing of impurities
Extraction of microbial ATP
Dilution and addition of light-producing enzyme
Detects 70% of microbes, instant and QUANTITATIVE results

## Slide 30: Testing & Analysis – Fuel-Pulse ATP Reporting
or Guardian Fueling Technologies 904-680-0850
Predictive Testing
Data Driven
Establishes Fingerprint & Trends
Provides Treatment Triggers

## Slide 31: Bell Performs 360
Chemical Suite

## Slide 32: Chemical Suite
Products Include:
  Bellicide
  Tank Treatment SDF
  Demulsifier EB
  Dee-Zol Life
  Cold Flow Improver

## Slide 33: Bellicide – Single Function
Broad-spectrum Fuel Micro-biocide
A Must-have for Microbial Contamination
Recommended by EPA
Highly Regulated

## Slide 34: Tank Treatment SDF – Multi-function
Sludge Dispersant
Biomass Dispersant
Corrosion Inhibitor
Recommended by EPA

## Slide 35: Demulsifier EB – Single Function
Water De-mulsifier
Drops emulsified water to tank bottom
Aids in Mechanical Remediation
Essential for HPCR Diesel Engines

## Slide 36: Dee-Zol Life – Single Function
3-4X Stability vs. Untreated Diesel Fuel
Reduces Formation of Solids & Particulates
Essential for Standby Power Supply

## Slide 37: Cold Flow Improver – Single Function
Diesel Fuel Anti-Gel
Drop in CFPP & Cloud Point of Approximately 20 Degrees F
More Essential Today Given Evolved Diesel Engine Filtration

## Slide 38: Bell Performs 360
Sales Support

## Slide 39: Bell Performs 360
We work with our Partners to create a turnkey Fuel Treatment Vertical designed for your customers’ needs that:
Solves Customer’s Fuel-Related Problems
Helps Establish Value & ROI for Customers
Enhances Your Brand
Differentiates from Competitors
Creates a High-Margin New Revenue Channel
Let our dedicated team help provide the solutions
your customers have been searching for!

## Slide 40: Sales Support
Focus: Align, Integrate & Execute

## Slide 41: Bell Performs 360
Marketing Support

## Slide 42: Marketing Support
Fundamental Considerations:
  Unique Vision
  Value Proposition
  Multi-Faceted Process

## Slide 43: Quick Reference Guide
Everything You Need to Know at a Glance
  Sales Agents
  Customer Service Representatives
  Field Technicians

## Slide 44: Customer Education Sessions
Utilize our expertise and training resources, bring customers together and maximize your efforts:
  On-Site Training Sessions
  Lunch & Learns
  Join.me Online Tutorials
  Webinars
  Group Conference Calls

## Slide 45: Email & Blog Content (Diesel Fuel Storage)
How To Ensure You Are Prepared For This Hurricane Season
http://www.bellperformance.com/blog/how-to-ensure-you-are-prepared-for-this-hurricane-season
The Importance Of Protecting Your Stored Fuel For Emergency Use
http://www.bellperformance.com/blog/the-importance-of-protecting-your-stored-fuel-for-emergency-use
Diesel Storage Shelf Life Isn't What It Used To Be
http://www.bellperformance.com/blog/bid/117614/Diesel-storage-shelf-life-isn-t-what-it-used-to-be
Fuel Storage And Diesel Generator Problems: Fuel Microbes
http://www.bellperformance.com/bell-performs-blog/diesel-generator-problems-fuel-microbes
Diesel Fuel Degradation In Storage - The Signs
http://www.bellperformance.com/blog/bid/117621/Diesel-fuel-degradation-in-storage-the-signs
Low Sulfur Diesel Problems: Corrosion In Storage And Dispensing
http://www.bellperformance.com/bell-performs-blog/ultra-low-sulphur-diesel-problems-corrosion-in-systems-storing-and-dispensing

## Slide 46: Social Media-Facebook.com/BellPerformance

## Slide 47: Bellperforms.com
Available exclusively to our Strategic Partners 24 hours a day, 7 days a week, 365 days a year. Access includes:
  Training Documents
  Sales & Marketing Support
  Video Library
  CUSTOMIZED WITH YOUR CONTENT

## Slide 48: Useful Website Addresses
www.wefixfuel.com
www.bellperformance.com
or Guardian Fueling Technologies 904-680-0850

## Slide 49: Thank You!